| Interior Features: . Custom designed cabinetry and countertops ($30,000 allowance) . Designer light fixture package ($4,000 allowance) . Custom designed fireplace surround/entertainment center ($1,500 allowance) . Your choice of stain resistant carpeting ($24 per square yard allowance) . Ceramic or porcelain floor tile in foyer, kitchen, all baths, bedroom hallways (1st floor) and utility room ($2.25 per square foot material allowance) . Ceramic or porcelain wall tile in tub and shower areas ($2.25 per square foot material allowance) . Granite fireplace face and hearth ($8.00 per square foot material allowance) . Custom designed tile inserts/accents ($1,000 material/labor allowance) . Custom designed closet system at master bedroom ($2,000 allowance), free slide, ventilated, vinyl coated steel shelving at all other locations . Structured wiring distribution system ($800 allowance) . 36" propane gas, vent-free fireplace . Mitered glass at breakfast nook (if applicable) . Spacious ceiling heights with one ceiling recess (location to be determined) . Bullnose drywall corner bead with choice of textured wall and ceiling finishes . Finished garage with painted walls and pegboard (5 sheets) . Painted 8'-0" tall six panel interior doors throughout except 6’-8” tall doors at secondary bedroom/bath areas, 3 ¼" DM-3 door casing . Choice of polished or antique brass levers or door knobs (Kwikset Maximum Security) . 4 ¼" O.G. baseboard throughout . One piece painted crown moulding at foyer, living room and dining room . Custom milled wood window sills . Pull-down garage attic staircase with attic light . Six pre-wires for ceiling fans . Recessed can lighting (24 total) . Rocker style light switches . Security system with two keypads and one motion sensor . Two stereo speaker/volume control pre-wires . Surround sound (w/sub woofer and center speaker) pre-wire . Automatic garage door opener(s) with transmitters Exterior Features: . Custom designed pool/spa/screen ($35,000 allowance) . Custom designed landscaping (allowance as per planning criteria requirements) with St. Augustine sod, irrigation system and irrigation meter (if applicable) . Your choice of front entry doors ($1,000 allowance) . Brick pavers at front porch ($500 allowance) . Concrete driveway with back-up turnaround area . Acrylic surface (over concrete) at rear porch . 8' tall sliding glass doors and 8’ tall wood french exterior doors (per plan) . Deadbolt locks on all exterior doors . Concrete tile roof (or 30 year architectural, fungus resistant, dimensional shingle as selected) . Two flood light pre-wires and four exterior weather-proof receptacles . Three outside hose bibbs | Kitchen Features: . General Electric stainless steel appliance package including single, 30” self-cleaning wall oven, microwave (above wall oven), “Profile” 30” propane gas cooktop, “Profile” 36” exhaust vent , “Triton” dishwasher and “CustomStyle” cabinet depth refrigerator . Moen "Integra" faucet . Plumbing for automatic icemaker . Countertop lighting pre-wires . Spacious pantry with tight mesh wire shelving Bathroom Features: . Luxurious master bath with raised platform acrylic soaking tub and separate custom designed shower . Ceramic tiled walls (8’ high) w/durock backer board at shower wall areas . Moen brushed nickel “Castleby” faucets throughout . Water saving, pressure balanced shower heads (Moen Moentrol) . 1 shower head/valve @ master bath shower . Private water closet area in master bath . Elongated, stylish water closets . Full mirrored vanities w/beveled edge . Decorative medicine cabinets with beveled glass edge . Choice of bathroom accessories ($300 allowance) . Exhaust fans in all bathrooms, vented to the outside . Shower enclosure at secondary bath (if applicable) Energy Saving Features: . Custom engineered high efficiency 13.00 seer heat pump . R-30 ceiling insulation . 50 gallon quick recovery, propane gas water heater . Polycel around all windows and openings in exterior walls . Maintenance free, continuously vented aluminum soffits . Clothes dryer and kitchen exhaust hood vented to outside (whenever possible) Construction Features: . Heidenescher Homes written one year warranty (industry standards) . High quality aluminum, single pane windows with block and tackle balancing system . Hurricane engineered concrete block/wood frame construction . Underground utilities . Professional interior decorating service level 1 sales spec sheet REV. 12/12/05 |
| --- | --- |